## INST
HSM - INSTRUMENTATION DAILY INSPECTION REPORT DATE : / / 2026
HMD STATUS |  |  |  | PRESSURE CONTROL VALVES |  |  |  |  | ALARMS ON HMI FOR TSH / FSL (SKID WATER COOLING SYSTEM)
LOCATION | STATUS (IN / OUT) |  | COOLING WATER STATUS | LOCATION |  | SET POINT (BAR) | PV (BAR) | OUTPUT (%) | RHF#1 | FSL
| A | B |  | MORGOIL SYSTEM | RM | 2.2 |  |  |  | TSH
RHF#1 UPMILL |  |  |  |  | FM | 4.5
RHF#1 DOWN MILL |  |  |  | LUBE SYSTEM | RM | 4.25 |  |  | RHF#2 | FSL
RHF#2 UPMILL |  |  |  |  | FM | 2.8
RHF#2 DOWN MILL |  |  |  |  | DC | 3.8 |  |  |  | TSH
RM PDS ENTRY |  |  |  | MORGOIL STAND ( min ) | RM | 1 |  | x
RM PDS EXIT |  |  |  |  | FM-1 | 1.5
RM APP TBL |  |  |  |  | FM-2 | 1.5
RM ENTRY |  |  |  |  | FM-3 | 2
RM VE (R1E) |  |  |  |  | FM-4 | 2
RM AWC (E1) |  | x |  |  | FM-5 | 1.7 |  |  | GAMMA CELL COUNTS |  |  | WATER |  | Remark
RM EXIT |  |  |  |  | FM-6 | 2.4 |  |  | LOCATION | RHF#1 | RHF#2 | RHF#1 | RHF#2
RM DLY TBL - 1 |  |  |  | MOTOR FLOOD LUBE SYS | RM | 3.65 |  | x | SOUTH
RM DLY TBL - 2 |  |  |  |  | FM | 2 |  | x | NORTH
CB APP TBL
CB ENTRY |  |  |  | TEMPERATURE CONTROL VALVES |  |  |  |  | CHARGING SIDE SENSORS |  |  |  | OXYGEN ANALYSER
CB CR - 1 |  |  |  | LOCATION |  | SET POINT (°C) | PV (°C) | OUTPUT (%) | LOCATION | RHF#1 | RHF#2
CB CR - 2 | [8 empty] | LENGTH |  |  |  | FCE | %
CS CUT |  |  |  | MORGOIL SYSTEM | RM | 40 |  |  | SPOT |  |  |  | RHF#1
CS PR |  |  |  |  | FM | 40 |  |  | INTERMID |  | x |  | RHF#2
CLR#1 ENTRY |  | x |  | LUBE SYSTEM | RM | 40 |  |  | P2 |  | x
CLR#2 ENTRY |  | x |  |  | FM | 40 |  |  | P3 |  | x
P2 & P3 SENSOR |  | x |  |  | DC | 40
PYROMETER STATUS |  |  |  | BOOSTER BYPASS VALVE |  |  |  |  | PLC BATTERY |  | WB WALK VALUE |  | INST AIR PRESS
LOCATION | READING |  | COOLING WATER STATUS | VALVE NO | 1 | 2 | 3 | 4 | RHF#1 | RHF#2 | RHF#1 | RHF#2 | RHF
|  |  |  | STATUS - IN/OUT | x | x | [6 empty] | MILL
| A | B
RM ENTRY |  |  |  | MILL FLOW METER STATUS
RM EXIT |  |  |  | LOCATION |  | STATUS
CB ENTRY |  |  |  | WR COOLING
FM ENTRY |  |  |  | DESCALE PUMPS
FM EXIT
ROT INTERMEDIATE |  |  |  | MILL AREA LOS STATUS
ROT VERNIER
COILER ENTRY | [9 empty] | A Er. SIGNATURE |  |  | A I/C SIGNATURE
HSM - INSTRUMENTATION DAILY INSPECTION REPORT DATE : / / 2026
HMD STATUS |  |  |  | PRESSURE CONTROL VALVES |  |  |  |  | ALARMS ON HMI FOR TSH / FSL (SKID WATER COOLING SYSTEM)
LOCATION | STATUS (IN / OUT) |  | COOLING WATER STATUS | LOCATION |  | SET POINT (BAR) | PV (BAR) | OUTPUT (%) | RHF#1 | FSL
| A | B |  | MORGOIL SYSTEM | RM | 2.2 |  |  |  | TSH
RHF#1 UPMILL |  |  |  |  | FM | 4.5
RHF#1 DOWN MILL |  |  |  | LUBE SYSTEM | RM | 4.25 |  |  | RHF#2 | FSL
RHF#2 UPMILL |  |  |  |  | FM | 2.8
RHF#2 DOWN MILL |  |  |  |  | DC | 3.8 |  |  |  | TSH
RM PDS ENTRY |  |  |  | MORGOIL STAND ( min ) | RM | 1 |  | x
RM PDS EXIT |  |  |  |  | FM-1 | 1.5
RM APP TBL |  |  |  |  | FM-2 | 1.5
RM ENTRY |  |  |  |  | FM-3 | 2
RM VE (R1E) |  |  |  |  | FM-4 | 2
RM AWC (E1) |  | x |  |  | FM-5 | 1.7 |  |  | GAMMA CELL COUNTS |  |  | WATER |  | Remark
RM EXIT |  |  |  |  | FM-6 | 2.4 |  |  | LOCATION | RHF#1 | RHF#2 | RHF#1 | RHF#2
RM DLY TBL - 1 |  |  |  | MOTOR FLOOD LUBE SYS | RM | 3.65 |  | x | SOUTH
RM DLY TBL - 2 |  |  |  |  | FM | 2 |  | x | NORTH
CB APP TBL
CB ENTRY |  |  |  | TEMPERATURE CONTROL VALVES |  |  |  |  | CHARGING SIDE SENSORS |  |  |  | OXYGEN ANALYSER
CB CR - 1 |  |  |  | LOCATION |  | SET POINT (°C) | PV (°C) | OUTPUT (%) | LOCATION | RHF#1 | RHF#2
CB CR - 2 | [8 empty] | LENGTH |  |  |  | FCE | %
CS CUT |  |  |  | MORGOIL SYSTEM | RM | 40 |  |  | SPOT |  |  |  | RHF#1
CS PR |  |  |  |  | FM | 40 |  |  | INTERMID |  | x |  | RHF#2
CLR#1 ENTRY |  | x |  | LUBE SYSTEM | RM | 40 |  |  | P2 |  | x
CLR#2 ENTRY |  | x |  |  | FM | 40 |  |  | P3 |  | x
P2 & P3 SENSOR |  | x |  |  | DC | 40
PYROMETER STATUS |  |  |  | BOOSTER BYPASS VALVE |  |  |  |  | PLC BATTERY |  | WB WALK VALUE |  | INST AIR PRESS
LOCATION | READING |  | COOLING WATER STATUS | VALVE NO | 1 | 2 | 3 | 4 | RHF#1 | RHF#2 | RHF#1 | RHF#2 | RHF
|  |  |  | STATUS - IN/OUT | x | x | [6 empty] | MILL
| A | B
RM ENTRY |  |  |  | MILL FLOW METER STATUS
RM EXIT |  |  |  | LOCATION |  | STATUS
CB ENTRY |  |  |  | WR COOLING
FM ENTRY |  |  |  | DESCALE PUMPS
FM EXIT
ROT INTERMEDIATE |  |  |  | MILL AREA LOS STATUS
ROT VERNIER
COILER ENTRY | [9 empty] | A Er. SIGNATURE |  |  | A I/C SIGNATURE