## HT - LT - SWITCH GEAR
HSM HT/LT SWITCHGEAR PANELS - Daily inspection Report | [7 empty] | Date:-
SR. NO. | UPS | Room AC | Cool. Fan | Batt. Bank | Operating Mode |  | 110 V (DC) supply status
1 | RM / FCE | [5 empty] | 6.6 KV
2 | 30KVA UPS
3 | FM Pulpit+Computer | [5 empty] | 33KV
4 | FM Area
5 | Standby (80KVA UPS) | [5 empty] | LC
6 | Coiler
7 | FM L1
SWITCH GEAR PANELS |  |  | Status | Relay Flags/Comments |  |  | 230 V (AC) Supply Status
33KV S/G PANEL | [6 empty] | For 33 KV feeders
33KV RELAY PANEL | [6 empty] | For 6.6 KV feeders
33KV CT PANEL(FM-5,6)
6.6 KV S/G PANEL (Lineup 1,2) | [6 empty] | LTG Transformers ( Temp. In ◦C )
LOAD CENTERS (1-13) | [6 empty] | No: 1
LV LINE UP PANELS | [6 empty] | No: 2
DRY TYPE TRANSFORMERS
ACPDB 1 & 2/ EMPDB#1 | [6 empty] | DRY TRANSFORMERS ( Temp. In ◦C )
BATTERY CHARGERS |  |  | 33 KV | 6.6 KV | L.C. Panel | Remarks | RHF-1 MCC-1
RHF-2 MCC-1
CHARGER BATT. BANK | [6 empty] | RM TOP EXICTATION
RM BOT EXICTATION
REMARKS | [6 empty] | RM DELAY TBL
RM APPROCH TBL
FM-1 EXCITATION
FM-2 EXCITATION
FM-3 EXCITATION
FM-4 EXCITATION
CREW: | [6 empty] | CB PR LEVELLER
DATE:
SIGNATURE: